## README
RGB to CIELAB, ΔE and hue angle
example_Batch__RGB_Raw_ManualROI calculation record generated from ImageJ Raw RGB data.
Item | Specification
Dataset | example_Batch__RGB_Raw_ManualROI
Source CSV files | 1 file(s); original Source_File names are preserved in Raw RGB.
Raw rows | 32
Source images / conditions | 4
Detected condition type | pg/mL
Included sample wells | All sample wells present in the Raw RGB data
Sample wells per image | 4–4
Sample ROIs per well | 1–1
ΔE reference | 0 pg/mL (0pg_per_ml_10ul_9 1AuNR.jpg); automatically uses 0 when present, otherwise the lowest numeric concentration or the first named condition.
Black reference | Channel-wise mean of all rows identified as black reference within the same source image.
White reference | Channel-wise mean of all rows identified as white reference within the same source image.
Assay RGB | Channel-wise mean of all Sample ROI rows with the same Well_Position within one source image.
White-balance factor | FactorR = 255 / WhiteR; FactorG and FactorB are calculated in the same way.
White balance | White-balanced channel = Assay channel × white-balance factor.
Corrected RGB | Corrected channel = White-balanced channel − black-reference mean.
CIELAB | Corrected RGB is clipped to 0–255, linearized as sRGB, transformed to XYZ and converted to CIELAB with D65 reference white.
Summary and SD | Means and sample SD (n−1) are calculated across the sample wells in each source image. SD is blank when only one sample well exists.
CIE76 ΔE*ab | ΔE = SQRT[(L*−L*ref)^2 + (a*−a*ref)^2 + (b*−b*ref)^2], using condition-level mean LAB values.
Hue angle | h° = MOD[atan2(b*, a*) × 180/π, 360], using condition-level mean a* and b*.
Raw-data protection | The source CSV is read only and is reproduced in the Raw RGB sheet. The workbook is a separate output file.

## Summary
Table S1. example_Batch__RGB_Raw_ManualROI corrected RGB, CIELAB, ΔE and hue-angle results
4 source image(s); 16 sample well(s); ΔE reference 0 pg/mL.
Concentration (pg/mL) | Corrected R mean | Corrected G mean | Corrected B mean | L* mean | L* SD | a* mean | a* SD | b* mean | Corrected b* | b* SD | 100−L* mean | b* Well1TL | b* Well2BT | b* Well3TR | b* Well4BR | ΔE*ab (CIE76) | Hue angle (°)
0 | 215.8675 | 209.0122 | 198.5729 | 84.0887 | 6.7858 | 0.62068 | 3.7485 | 6.0118 | 0 | 3.7129 | 15.9113 | 0.57163 | 8.7331 | 6.797 | 7.9456 | 0 | 84.1055
31.3 | 183.3051 | 179.6147 | 154.5102 | 72.8513 | 5.7138 | -2.7848 | 4.428 | 13.1518 | 7.14 | 12.0656 | 27.1487 | 1.0973 | 4.4655 | 24.1869 | 22.8574 | 13.7425 | 101.9552
62.5 | 189.8736 | 183.1538 | 139.4897 | 74.1202 | 5.4525 | -3.7655 | 6.7052 | 22.7089 | 16.6971 | 23.7086 | 25.8798 | 0.67046 | 4.0428 | 39.6161 | 46.5063 | 19.9349 | 99.4148
125 | 196.4965 | 186.6816 | 96.2906 | 75.0897 | 4.7891 | -6.8369 | 6.181 | 43.973 | 37.9612 | 33.0076 | 24.9103 | -0.28806 | 37.8892 | 70.7498 | 67.5411 | 39.7197 | 98.8376
Reference: 0 pg/mL (0pg_per_ml_10ul_9 1AuNR.jpg). Corrected b* = b* mean − reference b* mean. Hue angle uses mean a* and b*. Named conditions are retained as labels.

## Well RGB
Concentration (pg/mL) | Well | n (ROI) | Assay R | Assay G | Assay B | Black R | Black G | Black B | White R | White G | White B | Factor R | Factor G | Factor B | White balance R | White balance G | White balance B | Corrected R | Corrected G | Corrected B
0 | Well1TL | 1 | 186.381 | 173.524 | 163.964 | 8.359 | 7.14 | 7.038 | 223.7895 | 218.776 | 205.759 | 1.1395 | 1.1656 | 1.2393 | 212.3744 | 202.2554 | 203.2029 | 204.0154 | 195.1154 | 196.1649
0 | Well2BT | 1 | 191.075 | 169.967 | 149.543 | 8.359 | 7.14 | 7.038 | 223.7895 | 218.776 | 205.759 | 1.1395 | 1.1656 | 1.2393 | 217.723 | 198.1094 | 185.3307 | 209.364 | 190.9694 | 178.2927
0 | Well3TR | 1 | 215.358 | 209.288 | 185.452 | 8.359 | 7.14 | 7.038 | 223.7895 | 218.776 | 205.759 | 1.1395 | 1.1656 | 1.2393 | 245.3926 | 243.941 | 229.8333 | 237.0336 | 236.801 | 222.7953
0 | Well4BR | 1 | 194.316 | 189.008 | 164.669 | 8.359 | 7.14 | 7.038 | 223.7895 | 218.776 | 205.759 | 1.1395 | 1.1656 | 1.2393 | 221.416 | 220.3031 | 204.0766 | 213.057 | 213.1631 | 197.0386
31.3 | Well1TL | 1 | 158.826 | 150.17 | 140.501 | 12.5055 | 11.663 | 11.307 | 220.537 | 216.223 | 203.554 | 1.1563 | 1.1793 | 1.2527 | 183.6455 | 177.1012 | 176.0111 | 171.14 | 165.4382 | 164.7041
31.3 | Well2BT | 1 | 156.656 | 149.422 | 134.285 | 12.5055 | 11.663 | 11.307 | 220.537 | 216.223 | 203.554 | 1.1563 | 1.1793 | 1.2527 | 181.1364 | 176.219 | 168.224 | 168.6309 | 164.556 | 156.917
31.3 | Well3TR | 1 | 185.479 | 177.989 | 129.579 | 12.5055 | 11.663 | 11.307 | 220.537 | 216.223 | 203.554 | 1.1563 | 1.1793 | 1.2527 | 214.4635 | 209.9092 | 162.3286 | 201.958 | 198.2462 | 151.0216
31.3 | Well4BR | 1 | 176.427 | 171.182 | 125.09 | 12.5055 | 11.663 | 11.307 | 220.537 | 216.223 | 203.554 | 1.1563 | 1.1793 | 1.2527 | 203.997 | 201.8814 | 156.7051 | 191.4915 | 190.2184 | 145.3981
62.5 | Well1TL | 1 | 155.011 | 146.808 | 136.607 | 3.408 | 3.451 | 3.2765 | 221.0785 | 216.644 | 201.595 | 1.1534 | 1.177 | 1.2649 | 178.7953 | 172.7998 | 172.7959 | 175.3873 | 169.3488 | 169.5194
62.5 | Well2BT | 1 | 162.711 | 152.676 | 137.236 | 3.408 | 3.451 | 3.2765 | 221.0785 | 216.644 | 201.595 | 1.1534 | 1.177 | 1.2649 | 187.6768 | 179.7067 | 173.5915 | 184.2688 | 176.2557 | 170.315
62.5 | Well3TR | 1 | 189.062 | 178.641 | 104.569 | 3.408 | 3.451 | 3.2765 | 221.0785 | 216.644 | 201.595 | 1.1534 | 1.177 | 1.2649 | 218.071 | 210.2687 | 132.2706 | 214.663 | 206.8177 | 128.9941
62.5 | Well4BR | 1 | 163.497 | 156.021 | 73.054 | 3.408 | 3.451 | 3.2765 | 221.0785 | 216.644 | 201.595 | 1.1534 | 1.177 | 1.2649 | 188.5834 | 183.6439 | 92.4069 | 185.1754 | 180.1929 | 89.1304
125 | Well1TL | 1 | 153.244 | 144.709 | 134.449 | 5.747 | 5.732 | 5.513 | 218.9445 | 213.673 | 196.534 | 1.1647 | 1.1934 | 1.2975 | 178.48 | 172.6975 | 174.4456 | 172.733 | 166.9655 | 168.9326
125 | Well2BT | 1 | 171.089 | 164.634 | 93.858 | 5.747 | 5.732 | 5.513 | 218.9445 | 213.673 | 196.534 | 1.1647 | 1.1934 | 1.2975 | 199.2637 | 196.4763 | 121.7794 | 193.5167 | 190.7443 | 116.2664
125 | Well3TR | 1 | 193.415 | 174.374 | 46.13 | 5.747 | 5.732 | 5.513 | 218.9445 | 213.673 | 196.534 | 1.1647 | 1.1934 | 1.2975 | 225.2663 | 208.1001 | 59.853 | 219.5193 | 202.3681 | 54.34
125 | Well4BR | 1 | 176.842 | 161.202 | 39.412 | 5.747 | 5.732 | 5.513 | 218.9445 | 213.673 | 196.534 | 1.1647 | 1.1934 | 1.2975 | 205.9641 | 192.3805 | 51.1365 | 200.2171 | 186.6485 | 45.6235

## LAB Calculations
Concentration (pg/mL) | Well | Corrected R | Corrected G | Corrected B | L* | a* | b* | 100−L*
0 | Well1TL | 204.0154 | 195.1154 | 196.1649 | 79.5653 | 3.2855 | 0.57163 | 20.4347
0 | Well2BT | 209.364 | 190.9694 | 178.2927 | 78.5103 | 4.3908 | 8.7331 | 21.4897
0 | Well3TR | 237.0336 | 236.801 | 222.7953 | 93.355 | -2.3391 | 6.797 | 6.645
0 | Well4BR | 213.057 | 213.1631 | 197.0386 | 84.9241 | -2.8546 | 7.9456 | 15.0759
31.3 | Well1TL | 171.14 | 165.4382 | 164.7041 | 68.3497 | 1.9083 | 1.0973 | 31.6503
31.3 | Well2BT | 168.6309 | 164.556 | 156.917 | 67.7071 | 0.068488 | 4.4655 | 32.2929
31.3 | Well3TR | 201.958 | 198.2462 | 151.0216 | 79.2062 | -6.2557 | 24.1869 | 20.7938
31.3 | Well4BR | 191.4915 | 190.2184 | 145.3981 | 76.142 | -6.8601 | 22.8574 | 23.858
62.5 | Well1TL | 175.3873 | 169.3488 | 169.5194 | 69.8588 | 2.1864 | 0.67046 | 30.1412
62.5 | Well2BT | 184.2688 | 176.2557 | 170.315 | 72.4213 | 1.7884 | 4.0428 | 27.5787
62.5 | Well3TR | 214.663 | 206.8177 | 128.9941 | 82.1194 | -8.4188 | 39.6161 | 17.8806
62.5 | Well4BR | 185.1754 | 180.1929 | 89.1304 | 72.0815 | -10.6179 | 46.5063 | 27.9185
125 | Well1TL | 172.733 | 166.9655 | 168.9326 | 68.9974 | 2.4272 | -0.28806 | 31.0026
125 | Well2BT | 193.5167 | 190.7443 | 116.2664 | 75.9606 | -9.9863 | 37.8892 | 24.0394
125 | Well3TR | 219.5193 | 202.3681 | 54.34 | 80.6415 | -9.5973 | 70.7498 | 19.3585
125 | Well4BR | 200.2171 | 186.6485 | 45.6235 | 74.7592 | -10.1914 | 67.5411 | 25.2408
RGB → CIELAB (D65) calculation details
1. Reference averaging | Black and white RGB values are channel-wise means within each source image.
2. White balancing | Factor = 255 / White; White-balanced RGB = Assay RGB × Factor; Corrected RGB = White-balanced RGB − Black.
3. Valid sRGB range | Each corrected channel is clipped to 0–255 before CIELAB conversion; the unclipped corrected value remains visible in the table.
4. Linearization | c = clipped value / 255; c_lin = c / 12.92 when c ≤ 0.04045, otherwise ((c + 0.055) / 1.055)^2.4.
5. XYZ | X=0.412390799265959R+0.357584339383878G+0.180480788401834B; Y=0.212639005871510R+0.715168678767756G+0.072192315360734B; Z=0.019330818715592R+0.119194779794626G+0.950532152249660B.
6. D65 normalization | x=X/0.95047; y=Y/1.00000; z=Z/1.08883.
7. CIELAB helper | f(t)=t^(1/3) when t>216/24389; otherwise f(t)=[(24389/27)t+16]/116.
8. CIELAB | L*=116f(y)−16; a*=500[f(x)−f(y)]; b*=200[f(y)−f(z)].

## ΔE and Hue angle
Concentration (pg/mL) | Well / basis | L* mean | a* mean | b* mean | Reference L* | Reference a* | Reference b* | ΔL* | Δa* | Δb* | ΔE*ab (CIE76) | Hue angle (°)
0 | Mean of 4 wells | 84.0887 | 0.62068 | 6.0118 | 84.0887 | 0.62068 | 6.0118 | 0 | 0 | 0 | 0 | 84.1055
31.3 | Mean of 4 wells | 72.8513 | -2.7848 | 13.1518 | 84.0887 | 0.62068 | 6.0118 | -11.2374 | -3.4054 | 7.14 | 13.7425 | 101.9552
62.5 | Mean of 4 wells | 74.1202 | -3.7655 | 22.7089 | 84.0887 | 0.62068 | 6.0118 | -9.9684 | -4.3861 | 16.6971 | 19.9349 | 99.4148
125 | Mean of 4 wells | 75.0897 | -6.8369 | 43.973 | 84.0887 | 0.62068 | 6.0118 | -8.999 | -7.4576 | 37.9612 | 39.7197 | 98.8376
ΔE and hue-angle calculation details
Reference color | 0 pg/mL (0pg_per_ml_10ul_9 1AuNR.jpg); 0 is preferred when present, otherwise the lowest numeric concentration or first named condition is used. Change it with conversion_settings.json.
Mean LAB source | Each result row uses the mean L*, a* and b* across all sample wells in that source image.
Component differences | ΔL*=L*sample−L*reference; Δa*=a*sample−a*reference; Δb*=b*sample−b*reference.
CIE76 | ΔE*ab=SQRT[(ΔL*)^2+(Δa*)^2+(Δb*)^2].
Hue angle | h°=MOD[atan2(b*,a*)×180/π,360]. 0°=+a* red; 90°=+b* yellow; 180°=−a* green; 270°=−b* blue.

## Raw RGB
Image_Index | Source_Folder | Source_File | Region | Well_Position | ROI_Number | R | G | B | Concentration (pg/mL) | Included_in_calculation | ROI_Index | Role | ROI_Shape | ROI_X | ROI_Y | ROI_Width | ROI_Height | Area_px | Condition_Field | Condition_Unit | Condition_Value
1 | . | 0pg_per_ml_10ul_9 1AuNR.jpg | Black1 |  |  | 11.51 | 9.062 | 8.828 | 0 | Reference | 1 | BlackReference | Oval | 1336 | 1668 | 80 | 80 | 5024 | Image_Name |  | 0pg_per_ml_10ul_9 1AuNR
1 | . | 0pg_per_ml_10ul_9 1AuNR.jpg | Black2 |  |  | 5.208 | 5.218 | 5.248 | 0 | Reference | 2 | BlackReference | Oval | 1568 | 1892 | 80 | 80 | 5024 | Image_Name |  | 0pg_per_ml_10ul_9 1AuNR
1 | . | 0pg_per_ml_10ul_9 1AuNR.jpg | White1 |  |  | 224.212 | 219.535 | 205.938 | 0 | Reference | 3 | WhiteReference | Oval | 1596 | 1660 | 80 | 80 | 5024 | Image_Name |  | 0pg_per_ml_10ul_9 1AuNR
1 | . | 0pg_per_ml_10ul_9 1AuNR.jpg | White2 |  |  | 223.367 | 218.017 | 205.58 | 0 | Reference | 4 | WhiteReference | Oval | 1352 | 1888 | 80 | 80 | 5024 | Image_Name |  | 0pg_per_ml_10ul_9 1AuNR
1 | . | 0pg_per_ml_10ul_9 1AuNR.jpg | Sample1 | Well1TL | 1 | 186.381 | 173.524 | 163.964 | 0 | Yes | 5 | Sample | Oval | 1120 | 1420 | 160 | 160 | 20108 | Image_Name |  | 0pg_per_ml_10ul_9 1AuNR
1 | . | 0pg_per_ml_10ul_9 1AuNR.jpg | Sample1 | Well2BT | 1 | 191.075 | 169.967 | 149.543 | 0 | Yes | 6 | Sample | Oval | 1104 | 2100 | 160 | 160 | 20108 | Image_Name |  | 0pg_per_ml_10ul_9 1AuNR
1 | . | 0pg_per_ml_10ul_9 1AuNR.jpg | Sample1 | Well3TR | 1 | 215.358 | 209.288 | 185.452 | 0 | Yes | 7 | Sample | Oval | 1812 | 1440 | 160 | 160 | 20108 | Image_Name |  | 0pg_per_ml_10ul_9 1AuNR
1 | . | 0pg_per_ml_10ul_9 1AuNR.jpg | Sample1 | Well4BR | 1 | 194.316 | 189.008 | 164.669 | 0 | Yes | 8 | Sample | Oval | 1780 | 2080 | 160 | 160 | 20108 | Image_Name |  | 0pg_per_ml_10ul_9 1AuNR
2 | . | 125pg_per_ml_10ul_9 1AuNR.jpg | Black1 |  |  | 7.196 | 7.166 | 6.932 | 125 | Reference | 1 | BlackReference | Oval | 1382 | 1628 | 80 | 80 | 5024 | Image_Name |  | 125pg_per_ml_10ul_9 1AuNR
2 | . | 125pg_per_ml_10ul_9 1AuNR.jpg | Black2 |  |  | 4.298 | 4.298 | 4.094 | 125 | Reference | 2 | BlackReference | Oval | 1580 | 1856 | 80 | 80 | 5024 | Image_Name |  | 125pg_per_ml_10ul_9 1AuNR
2 | . | 125pg_per_ml_10ul_9 1AuNR.jpg | White1 |  |  | 220.132 | 214.229 | 196.586 | 125 | Reference | 3 | WhiteReference | Oval | 1592 | 1610 | 80 | 80 | 5024 | Image_Name |  | 125pg_per_ml_10ul_9 1AuNR
2 | . | 125pg_per_ml_10ul_9 1AuNR.jpg | White2 |  |  | 217.757 | 213.117 | 196.482 | 125 | Reference | 4 | WhiteReference | Oval | 1376 | 1832 | 80 | 80 | 5024 | Image_Name |  | 125pg_per_ml_10ul_9 1AuNR
2 | . | 125pg_per_ml_10ul_9 1AuNR.jpg | Sample1 | Well1TL | 1 | 153.244 | 144.709 | 134.449 | 125 | Yes | 5 | Sample | Oval | 1132 | 1366 | 160 | 160 | 20108 | Image_Name |  | 125pg_per_ml_10ul_9 1AuNR
2 | . | 125pg_per_ml_10ul_9 1AuNR.jpg | Sample1 | Well2BT | 1 | 171.089 | 164.634 | 93.858 | 125 | Yes | 6 | Sample | Oval | 1102 | 2026 | 160 | 160 | 20108 | Image_Name |  | 125pg_per_ml_10ul_9 1AuNR
2 | . | 125pg_per_ml_10ul_9 1AuNR.jpg | Sample1 | Well3TR | 1 | 193.415 | 174.374 | 46.13 | 125 | Yes | 7 | Sample | Oval | 1816 | 1354 | 160 | 160 | 20108 | Image_Name |  | 125pg_per_ml_10ul_9 1AuNR
2 | . | 125pg_per_ml_10ul_9 1AuNR.jpg | Sample1 | Well4BR | 1 | 176.842 | 161.202 | 39.412 | 125 | Yes | 8 | Sample | Oval | 1810 | 2056 | 160 | 160 | 20108 | Image_Name |  | 125pg_per_ml_10ul_9 1AuNR
3 | . | 31.3pg_per_ml_10ul_9 1AuNR.jpg | Black1 |  |  | 10.658 | 10.581 | 10.341 | 31.3 | Reference | 1 | BlackReference | Oval | 1646 | 1820 | 80 | 80 | 5024 | Image_Name |  | 31.3pg_per_ml_10ul_9 1AuNR
3 | . | 31.3pg_per_ml_10ul_9 1AuNR.jpg | Black2 |  |  | 14.353 | 12.745 | 12.273 | 31.3 | Reference | 2 | BlackReference | Oval | 1412 | 1604 | 80 | 80 | 5024 | Image_Name |  | 31.3pg_per_ml_10ul_9 1AuNR
3 | . | 31.3pg_per_ml_10ul_9 1AuNR.jpg | White1 |  |  | 223.347 | 218.754 | 205.177 | 31.3 | Reference | 3 | WhiteReference | Oval | 1634 | 1604 | 80 | 80 | 5024 | Image_Name |  | 31.3pg_per_ml_10ul_9 1AuNR
3 | . | 31.3pg_per_ml_10ul_9 1AuNR.jpg | White2 |  |  | 217.727 | 213.692 | 201.931 | 31.3 | Reference | 4 | WhiteReference | Oval | 1406 | 1808 | 80 | 80 | 5024 | Image_Name |  | 31.3pg_per_ml_10ul_9 1AuNR
3 | . | 31.3pg_per_ml_10ul_9 1AuNR.jpg | Sample1 | Well1TL | 1 | 158.826 | 150.17 | 140.501 | 31.3 | Yes | 5 | Sample | Oval | 1180 | 1342 | 160 | 160 | 20108 | Image_Name |  | 31.3pg_per_ml_10ul_9 1AuNR
3 | . | 31.3pg_per_ml_10ul_9 1AuNR.jpg | Sample1 | Well2BT | 1 | 156.656 | 149.422 | 134.285 | 31.3 | Yes | 6 | Sample | Oval | 1156 | 1978 | 160 | 160 | 20108 | Image_Name |  | 31.3pg_per_ml_10ul_9 1AuNR
3 | . | 31.3pg_per_ml_10ul_9 1AuNR.jpg | Sample1 | Well3TR | 1 | 185.479 | 177.989 | 129.579 | 31.3 | Yes | 7 | Sample | Oval | 1852 | 1342 | 160 | 160 | 20108 | Image_Name |  | 31.3pg_per_ml_10ul_9 1AuNR
3 | . | 31.3pg_per_ml_10ul_9 1AuNR.jpg | Sample1 | Well4BR | 1 | 176.427 | 171.182 | 125.09 | 31.3 | Yes | 8 | Sample | Oval | 1822 | 2050 | 160 | 160 | 20108 | Image_Name |  | 31.3pg_per_ml_10ul_9 1AuNR
4 | . | 62.5pg_per_ml_10ul_9 1AuNR.jpg | Black1 |  |  | 3.589 | 3.675 | 3.326 | 62.5 | Reference | 1 | BlackReference | Oval | 1346 | 1658 | 80 | 80 | 5024 | Image_Name |  | 62.5pg_per_ml_10ul_9 1AuNR
4 | . | 62.5pg_per_ml_10ul_9 1AuNR.jpg | Black2 |  |  | 3.227 | 3.227 | 3.227 | 62.5 | Reference | 2 | BlackReference | Oval | 1580 | 1886 | 80 | 80 | 5024 | Image_Name |  | 62.5pg_per_ml_10ul_9 1AuNR
4 | . | 62.5pg_per_ml_10ul_9 1AuNR.jpg | White1 |  |  | 222.008 | 216.26 | 200.852 | 62.5 | Reference | 3 | WhiteReference | Oval | 1592 | 1652 | 80 | 80 | 5024 | Image_Name |  | 62.5pg_per_ml_10ul_9 1AuNR
4 | . | 62.5pg_per_ml_10ul_9 1AuNR.jpg | White2 |  |  | 220.149 | 217.028 | 202.338 | 62.5 | Reference | 4 | WhiteReference | Oval | 1358 | 1880 | 80 | 80 | 5024 | Image_Name |  | 62.5pg_per_ml_10ul_9 1AuNR
4 | . | 62.5pg_per_ml_10ul_9 1AuNR.jpg | Sample1 | Well1TL | 1 | 155.011 | 146.808 | 136.607 | 62.5 | Yes | 5 | Sample | Oval | 1120 | 1408 | 160 | 160 | 20108 | Image_Name |  | 62.5pg_per_ml_10ul_9 1AuNR
4 | . | 62.5pg_per_ml_10ul_9 1AuNR.jpg | Sample1 | Well2BT | 1 | 162.711 | 152.676 | 137.236 | 62.5 | Yes | 6 | Sample | Oval | 1108 | 2080 | 160 | 160 | 20108 | Image_Name |  | 62.5pg_per_ml_10ul_9 1AuNR
4 | . | 62.5pg_per_ml_10ul_9 1AuNR.jpg | Sample1 | Well3TR | 1 | 189.062 | 178.641 | 104.569 | 62.5 | Yes | 7 | Sample | Oval | 1768 | 1396 | 160 | 160 | 20108 | Image_Name |  | 62.5pg_per_ml_10ul_9 1AuNR
4 | . | 62.5pg_per_ml_10ul_9 1AuNR.jpg | Sample1 | Well4BR | 1 | 163.497 | 156.021 | 73.054 | 62.5 | Yes | 8 | Sample | Oval | 1780 | 2068 | 160 | 160 | 20108 | Image_Name |  | 62.5pg_per_ml_10ul_9 1AuNR